## Zwick 1445 Universal Testing System The Zwick 1445 Universal Testing System is the lab’s ‘one fits all’. A broad range of mechanical testing can be performed on this machine, as long as it concerns quasi-static tests. Three of these 10kN capacity UTS are available, with two table models. Keywords:; UTS, Mechanical testing. Measurements:; Material and structural mechanical properties. Specifications:; Force capacity: Max 10kN Displacement capacity: 150mm, xmm for the 2 table models Load cell available: 50N, 100N, 1kN, 5kN and 10kN Displacement control, from 0.2mm/min. Equipment:; Divers types of tensile clamping possibilities, also hydraulic Bending fixtures with different clamping conditions Data acquisition via Labview Two environmental chamber for testing from -50oC to roughly 150oC. Publications:. Location:; Westhorst WH125. Research group:; Production Technology. Contact:; Bert Vos, Laurent Warnet.